Industrial Gas Analyzer User’s Application Form

Ref: GS_AS_E

UserID:            (gui+y/m/d)

Company details

| Date of enquiry: |  |
| --- | --- |
| User Name: |  |
| Company: |  |
| Address: |  |
| Phone: |  |
| Fax: |  |
| Email: |  |
| Web: | (optional) |

Measurement requirements

Your Project:……………………

Process Sample:………………….

Analysis Parameter:

Range:                            mg/L□;    other □

Required Accuracy:              mg/L□;    %reading□;   %FS□

Test Aim: Toxic detect ; Ex Detect ; Industry Control

Process conditions

|  | Min | Max | Normal | Units |
| --- | --- | --- | --- | --- |
| Temperature |  |  |  |  |
| Pressure |  |  |  |  |
| Flow rate |  |  |  |  |
| Density |  |  |  |  |

Composition of the Gas Sample:

| Name | CAS No. or Molecular formula | Concentration range possible/ normal data | Fluctuation in process(min to max) | Description to the property |
| --- | --- | --- | --- | --- |

*All components should be listed of those concentration range >1/10 of asked measurement

Physical Status (under process conditions)

Gas □;		Gas suspending liquids □;		Gas suspending particles □; 		other………..□;

Anything Special?

Flow aggression / Compatible Materials for contact parts:

Description:…………………………………………………..

Contact Materials Suggestion:

Compatible Metal:316L stainless steel   □; Hastelloy - C   □; Other :      □

Compatible Seals: ………………………………….

Installation

Pipe □; Closed Tank  □; Open Channel □; Open Vessel □; Atmosphere □; Portable ;

Size:                                   ; Plant  EM Noise? Yes□  No□;

Fixing Connection

NPT1/2”   □; NPT1/4”   □; M10  □;	other:          □

Safety/Hazardous Area requirements

Zone:

Gas Class:

Temp. Class:

*Please specify in NEC or IP standards

Power supply availability

12-24vdc □;  220 vac  □;  110 vac □;   Other:          □

Output

Local display  □;  Remote display □;    4-20mA current □; other………………….□;

Communication:

Serial Port:      RS422/485 □;  RS 232 □; CAN   □;

Instrument Network:……………..

Instrumental Type Selection:

Economic ；Portable；On-line Transducer；Process Analyzer；

May I know your concept of this purchase?

Does it need the instruments continuously working 24hr?  Yes/no;

If yes, you need PGA(self maintenance & calibration) level instrument? □; or just CGA (manual maintenance and calibration) □;

Note: If for research or short time experiment, CGA is ok. If Industrial application, better choose PGA

Could the gas be cooled to room temperature to test?  Yes/No □;

if yes, the first condensate happens at ……C at the possible max concentration □;  or the Liquidification point is at……C.□; …. □;

Note:

- please pay attention to the concentration element to count the behavior

- Water/steam is the common element to consider at most cases

- If there happens any condensation of water/steam or other substances happen, the analysis might be always in fault.

Other Information   (Please attach technological materials if necessary):

BigDipper Technochem Institute

Call: (86) 10-8264.0226;  Fax: (86)10-8264.0221;

P.o.Box: 603 BDTI   Beijing, China 100190

email: support@big-dipper.us

web: http://www.big-dipper.us

http://www.BD-research.com/Products/Gas/index.htm