### Process Moisture Test for Liquid

## <User’s Application Form>

Ref: lMS_AS_E

# UserID:            (vs+y/m/d)

### Company details:

| Date of enquiry: |  |
| --- | --- |
| User Name: |  |
| Company: |  |
| Address: |  |
| Phone: |  |
| Fax: |  |
| Email: |  |
| Web: | (optional) |

### Measurement requirements

Your Project:……………………

Process Sample:………………….

Testing Parameter: Moisture

Range:                            g/L □     %v□       %W□

Required Accuracy:                     g/L □     %v□       %W□

### Process conditions

|  | Min | Max | Normal | Units |
| --- | --- | --- | --- | --- |
| Temperature |  |  |  |  |
| Pressure |  |  |  |  |
| Flow speed |  |  |  |  |
| Viscosity |  |  |  |  |
| Density |  |  |  |  |

### Sample Specifications

Process Sample Material:………………….

Bulk Density (Nominal):…………….;

Particle size distribution:         to………;Average:

Moisture range:……. To………..; Normal:………..

Conductivity: ……. To………..

PH: ……. To………..

Dielectric constant: ……. To………..

Normal sample temperature: ……. To………..; Normal:………

Physical Status (under process conditions)

Liquid □,  Any gas bubble formation?   Yes □  No □; Volume%:…….;

Slurry □,   What is the % solids?___________;  other…………□;

Please describe the startup, running, stop process, and the special physiochemical phenomena under these processes:………………

### Composition of the Sample:

| Ingredient | Scientific term | Normal Ratio or concentration | Fluctuation(min to max) | Other Information |
| --- | --- | --- | --- | --- |

*All compounds must be listed.

Industrial Analysis Method:                                                       (for Calibration reference)

Ever used analyzing tech:…………….   Analyzer:……….       Any problem?…………..

Do you have idea of BDTI analyzer?…………..

#### Fluid aggression / Compatible Materials for wetted parts:

Description:

Metal: 316L stainless steel  □; Hastelloy - C  □;Aluminum □;Brass□; Bronze□; Copper□; Titanium□; other…□;

Complex: Nylon; ABS;Acetal;CPVC;Epoxy;Polycarbonate; PTFE; PVDF; other :…………..□;

Seal: Silicone□; Natural rubber□;Neoprene□; other……□;

#### Installation

Pipe           □;   Closed Tank   □;  Open Channel   □; Open Vessel    □;

Size:                                            ;Plant vibration/noise? Yes□  No□;

#### Process connection

2" ANSI Flange  (standard) □;  		NPT1”   □; 	other:          □

#### Safety/Hazardous Area requirements

Zone:

Gas Class:

Temp. Class:

#### Power supply availability

12-24vdc □;  220 vac  □;  110 vac □;   Other:          □

#### Output

Local display  □;  Remote display □;    4-20mA current □; other………………….□;

#### Communication:

Serial Port:      RS422/485 □;  RS 232 □; CAN   □;

Instrument Network:……………..

Other Information:………………….

Have you  any idea for Selection of our products?……………………………………

BIG DIPPER TECHNOCHEM INSTITUTE

Call：(86)10-8264.0226; 8264.0225;

Fax: (86)10-8264.0221;

P.o.Box: 603 BDTI

Beijing, China 100190

http://www.BD-research.com/

Email: support@big-dipper.us    sales@big-dipper.us

http://www.BD-research.com/Products/Moisture/index.htm